## Arrestors
| Product/Service | Type | price | Cost | Cost | Qty On Hand
Arrestors | Non-inventory |  | 0
Arrestors:15KV Lightning | Non-inventory | 15 KV Lightning Arrestor - 05/14/09 Store | 61.61 | 58.1
Arrestors:27KVLIGHTING ARRES | Non-inventory | 27 KV Lighting Arrestor - Store - 06/18/09 | 126.58 | 100
Arrestors:C-HDH364FRK-PM | Non-inventory | Arrestor 15KV Std Duty A #213263-7224 | 564.71 | 480
Arrestors:L-M0B2172597324 | Non-inventory | 10 KV Distribution Arrestor PDV 65 | 37.56 | 31.91
Arrestors:L-MC2060192 | Non-inventory | Arrestor/Cutout T Brake | 23 | 19.542
Arrestors:L-MDELA603S | Non-inventory | Arrestor Delta 600V 3P | 43.53 | 37
Arrestors:M-EAVS101M006 | Non-inventory | Arrestor 6KV Std Duty Arm Mtd | 38.92 | 33.072
Arrestors:M-EAVS101M012 | Non-inventory | 12 KV Arrestor - 06/03/09 - State | 52.48 | 44.6
Arrestors:M-EAVS101M015 | Non-inventory | Arrestor 15 KV Std Duty Arm Mt - 12/13/08 State | 65.78 | 51.97
Arrestors:M-EAVT3F27 | Non-inventory | Arrestor 27 KV Arm Mtd | 101.52 | 88.2768

## Bolts nuts screws
Product/Service | Type | Description | Price | Cost | Qty On Hand
Bolts, Nuts & Screws | Non-inventory |  | 0
Bolts, Nuts & Screws:1/2"x2" SB Bolt | Non-inventory | 1/2" X 2" Silicone Bronze Bolts - 8/20/08 Fastenal | 4.51 | 3.83
Bolts, Nuts & Screws:1/2"X2" SB Nut | Non-inventory | 1/2" X 2" Silicone Bronze Nut - 8/20/08 Fastenal | 1.35 | 1.14
Bolts, Nuts & Screws:1/2"X2" SB Washer | Non-inventory | 1/2" X 2" Silicone Bronze Washer - 8/20/08 Fastenal | 1.84 | 1.56
Bolts, Nuts & Screws:1/2-13ssnut | Non-inventory | 1/2-13 SS Nut | 0.59 | 0.5
Bolts, Nuts & Screws:1/2-13x11/2ss bolt | Non-inventory | 1/2-13 x 1 1/2 SS Bolt | 1.52 | 1.29
Bolts, Nuts & Screws:1/2ssflatwasher | Non-inventory | 1/2 SS Flat Washer | 0.59 | 0.5
Bolts, Nuts & Screws:1/2sslockwasher | Non-inventory | 1/2 SS Lock washer | 0.36 | 0.3
Bolts, Nuts & Screws:1/4X1-1/2LAG | Non-inventory | 1/4" x 1-1/2" Lag Screw - 05/11/09 Store | 0.11 | 0.08
Bolts, Nuts & Screws:1/4X2LAG | Non-inventory | 1/2" x 2" Lag Bolts | 0.11 | 0.0874
Bolts, Nuts & Screws:1002 | Non-inventory | Houseknob Medium Lag Screw - 08/27/09 Store | 4.09 | 3.23
Bolts, Nuts & Screws:11500 | Non-inventory | 5/8 X 2-1/4 Square Washer - Store 08/3109 | 0.33 | 0.4
Bolts, Nuts & Screws:12 x 1 Self Drill | Non-inventory | 12 X 1 Self Drilling Screws Hex Head - 11/6/08 Store | 0.11 | 0.0737
Bolts, Nuts & Screws:193058 | Non-inventory | 2-1/2" Black Drywall Screws per pound - 08/24/09 Store | 4.19 | 3.31
Bolts, Nuts & Screws:22167 | Non-inventory | 1/2 x 2 SS Hex Bolt - 3/4/10 Store | 1.18 | 0.93
Bolts, Nuts & Screws:25970 | Non-inventory | 1/2 S/S Hex Locknut - 3/4/40 Store | 0.5 | 0.39
Bolts, Nuts & Screws:30144 | Non-inventory | 10 x 1 Self Drill Screw | 0.06 | 0.0403
Bolts, Nuts & Screws:5/8 x 1-1/2 Hex Bolt | Non-inventory | 5/8" x 1-1/2" Hex Bolt - 05/26/09 Store | 1.64 | 1.29
Bolts, Nuts & Screws:5/8 X 1-3/4 Hex Bolt | Non-inventory | 5/8" X 1-3/4" Hex Bolt - 05/26/09 Store | 1.83 | 1.44
Bolts, Nuts & Screws:5060 | Non-inventory | 5/8 Guy Hook - 08/10/09 Store | 2.95 | 2.33
Bolts, Nuts & Screws:5290 | Non-inventory | 1/2 x 4 Twist Drive Screw - Store 08/06/09 | 0.33 | 0.26
Bolts, Nuts & Screws:5960 | Non-inventory | 5/8X20 Double Arming Bolt - Store 05/12/09 | 2.14 | 1.69
Bolts, Nuts & Screws:5962 | Non-inventory | 5/8X22 DoubleArmingBolt Store - 08/06/09 | 2.3 | 1.82
Bolts, Nuts & Screws:5964 | Non-inventory | 5/8X24 DoubleArmingBolt - 08/13/09 | 2.48 | 1.96
Bolts, Nuts & Screws:8222 | Non-inventory | 5/8 x 10" Machine Bolt w/nut - 08/10/09 Store | 1.11 | 0.87
Bolts, Nuts & Screws:8224 | Non-inventory | 5/8X12" Machine Bolt W/Nut -12/7/09 -Store | 1.27 | 1
Bolts, Nuts & Screws:8226 | Non-inventory | 5/8 X 14" Machine Bolt W/Nut - Store 08/10/09 | 1.43 | 1.13
Bolts, Nuts & Screws:8228 | Non-inventory | 5/8X16"MachineBolts W/Nuts Store - 05/04/09 | 1.7721 | 1.4
Bolts, Nuts & Screws:927 | Non-inventory | 3/8 x 4-1/2 Carriage Bolt - 05/19/09 Store | 0.41 | 0.32
Bolts, Nuts & Screws:ATL 5/8 1 1/2" BOLT | Non-inventory | 5/8" Bolt for Atlas Flood 08/13/09 - Store | 1.57 | 1.24
Bolts, Nuts & Screws:ATL 5/8" Nut | Non-inventory | 5/8" Nut for Atlas Flood 08/13/09 - Store | 0.92 | 0.72
Bolts, Nuts & Screws:B-LN224-ZN-1/4 | Non-inventory | Pltd Spring Nut | 0.35 | 0.282
Bolts, Nuts & Screws:B-LN225-ZN-1/2 | Non-inventory | Pltd Spring Nut - 8/22/08 State | 1.01 | 0.87768
Bolts, Nuts & Screws:B-LN228-ZN-3/8 | Non-inventory | Pltd Spring Nut - Store - 05/11/09 | 0.72 | 0.57
Bolts, Nuts & Screws:HPS29966 | Non-inventory | 5/8 - 11x16 Oval Eye Bolt - 07/17/09 State | 5.59 | 4.41
Bolts, Nuts & Screws:HPS29986 | Non-inventory | .75 x 16 Oval Eye Bolt - 7/17/09 State | 11.73 | 9.26
Bolts, Nuts & Screws:HPS8878 | Non-inventory | Dbl Arm Machine Bolt 5/8" X 30" - 3/16/09 State | 6.02 | 4.75
Bolts, Nuts & Screws:J37NHZ | Non-inventory | 3/8-16 Nut | 0.05
Bolts, Nuts & Screws:J8812 | Non-inventory | Machine Bolt 5/8" x 12" - 05/18/09 State | 1.92 | 1.51
Bolts, Nuts & Screws:L-M7018 | Non-inventory | 1/2X6 Carriage Bolt - 08/06/09 Store | 0.82 | 0.64
Bolts, Nuts & Screws:L-MJ1092 | Non-inventory | 5/8" Oval Eye Nut - 08/25/09 Store | 2.46 | 1.94
Bolts, Nuts & Screws:L-MJ1093 | Non-inventory | 3/4" Oval Eye Nut | 2.3 | 1.95
Bolts, Nuts & Screws:L-MJ3316P | Non-inventory | Drive Hook 7/16 X 4-3/4 | 0.93 | 0.788
Bolts, Nuts & Screws:L-MJ6823 | Non-inventory | Washer 3/4" Blt 3 x 3 Sq Curved | 1.12 | 0.95
Bolts, Nuts & Screws:L-MJ8634-1/2 | Non-inventory | 3/8 x 4-1/2 Carr Bolt - 12/09/08 State | 0.8 | 0.68
Bolts, Nuts & Screws:L-MJ8707 | Non-inventory | Machine Bolt 1/2" x 7" - 9/4/08 State | 1.33 | 1.122
Bolts, Nuts & Screws:L-MJ8754P | Non-inventory | Screw 1/2 x 4 Lag - 10/10/08 State | 0.8 | 0.68
Bolts, Nuts & Screws:L-MJ8810 | Non-inventory | Machine Bolt 5/8" x 10" -10/3/08 State | 1.42 | 1.2
Bolts, Nuts & Screws:L-MJ8814 | Non-inventory | Machine Bolt 5/8" x 14" - 10/7/08 State | 1.79 | 1.85
Bolts, Nuts & Screws:L-MJ8816 | Non-inventory | Machine Bolt 5/8" x 16" - 10/10/08 State | 2.28 | 1.93
Bolts, Nuts & Screws:L-MJ8818 | Non-inventory | Machine Bolt 5/8" x 18" - 8/19/08 State | 2.6 | 2.21
Bolts, Nuts & Screws:L-MJ8868 | Non-inventory | Double Arm Bolt 5/8" X 18" - 10/7/08 State | 3.62 | 3.07
Bolts, Nuts & Screws:L-MJ8870 | Non-inventory | Double Arm Bolt 5/8" X 20" - 11/19/08 State | 3.82 | 3.24
Bolts, Nuts & Screws:L-MJ8872 | Non-inventory | Double Arm Bolt 5/8" X 22" - 01/21/09 State | 4.02 | 3.41
Bolts, Nuts & Screws:L-MJ8874 | Non-inventory | 5/8" x 24 Double Arm Bolt - 01/21/09 State | 4.77 | 3.77
Bolts, Nuts & Screws:L-MJ8876 | Non-inventory | Dbl Arm Machine Bolt 5/8" X 26" | 4.02 | 3.41
Bolts, Nuts & Screws:L-MJ8892 | Non-inventory | Dbl Arm Machine Bolt 3/4" x 22" | 5.95 | 5.05
Bolts, Nuts & Screws:L-MJ8894 | Non-inventory | Double Arm Machine Bolt 3/4" X 24" | 6.75 | 4.52
Bolts, Nuts & Screws:L-MJ8896 | Non-inventory | Double Arm Machine Bolt 3/4" x 26" | 7.19 | 6.11
Bolts, Nuts & Screws:L-MJ8916 | Non-inventory | Machine Bolt 3/4" x 16" | 2.99 | 2.5375
Bolts, Nuts & Screws:L-MJ9410 | Non-inventory | Oval Eyebolt 5/8" x 10" | 3.45 | 2.925
Bolts, Nuts & Screws:N224-ZN-1/4 | Non-inventory | 1/4 Spring Nuts - 06/22/09 - Store | 0.58 | 0.55
Bolts, Nuts & Screws:N228-2N-3/8 | Non-inventory | 3/8" Spring Nut 10/08/09 - Store | 0.75 | 0.59
Bolts, Nuts & Screws:P1092 | Non-inventory | 5/8 Oval Eyenut - 1/21/10 -Store | 1.41 | 1.11
Bolts, Nuts & Screws:P9412 | Non-inventory | 5/8X12 eye bolt 08/06/09 - Store | 3.09 | 2.44
Bolts, Nuts & Screws:RAW1151 | Non-inventory | 3/4 Short Lag Screw Shield | 0.68 | 0.5618
Bolts, Nuts & Screws:SCR5/8Nut | Non-inventory | 5/8" Hex Nut - 05/26/09 Store | 0.93 | 0.722
Bolts, Nuts & Screws:SCRCAP1/4X1 | Non-inventory | 1/2" x 1" Cap Screws | 3.03 | 2.57
Bolts, Nuts & Screws:SCRCAP12X1 | Non-inventory | Screw Cap Hex 1/2 x 1 | 0.22 | 0.1802
Bolts, Nuts & Screws:SCRCAP12X1-1/2 | Non-inventory | Screw Cap Hex 1/2 x 1-1/2 | 0.11 | 0.1802
Bolts, Nuts & Screws:SCRCAP12x114 | Non-inventory | Screw Cap Hex 1/2" X 1-1/4" - 8/22/08 State | 0.39 | 0.3223
Bolts, Nuts & Screws:SCRCAP12x2 | Non-inventory | Screw Cap Hex 1/2 x 2 - 9/18/08 State | 0.52 | 0.4375
Bolts, Nuts & Screws:SCRCAP14X114 | Non-inventory | Screw Cap Hex 1/4 x 1-1/4 | 0.06 | 0.04028
Bolts, Nuts & Screws:SCRCAP38X1 | Non-inventory | Screw Cap Hex 3/8" X 1" - 11/19/08 State | 0.22 | 0.1608
Bolts, Nuts & Screws:SCRCAP38X114 | Non-inventory | Screw Cap Hex 3/8 x 1-1/4 - 8/22/08 State | 0.22 | 0.1824
Bolts, Nuts & Screws:SCRL14X2 | Non-inventory | Screw Lag 1/4" X 2" | 0.12 | 0.0984
Bolts, Nuts & Screws:SCRL38X2 | Non-inventory | Lag Screw 3/8 X 2 | 0.24 | 0.19546
Bolts, Nuts & Screws:SCRL38X21/2 | Non-inventory | 3/8" X 2-1/2" Lag Screws - 07/14/08 Store | 0.4 | 0.314
Bolts, Nuts & Screws:SCRL38X3 | Non-inventory | 3/8" lag bolt 3" long 07/14/09 - Store | 0.4 | 0.314
Bolts, Nuts & Screws:SCRNHEX1213 | Non-inventory | Nut Hex 1/2-13 - 9/18/08 State | 0.16 | 0.121

## Breakers
Product/Service | Type | Description | Price | Cost | Qty On Hand
Breakers | Non-inventory |  | 0
Breakers:30 Amp | Non-inventory | 30 Amp Breaker | 18
Breakers:A864CHSCFG | Non-inventory | NEMA 4X FBX Enclosures - 5/18/09 Store | 78.66 | 62.14
Breakers:BAB2020 | Non-inventory | 2 Phase 20 Amp 240 Volt Bolt-On Breaker - 11/13/08 Store | 72.11 | 56.96
Breakers:BR2020 | Non-inventory | BR 20 Amp Tandem Breaker | 11.36
Breakers:BR2100 | Non-inventory | BR 2 Pole 100 Amp Branch Breaker | 30.59 | 31.25
Breakers:BR220 | Non-inventory | BR 2 Pole 20 Amp Breaker | 10.55 | 8.96
Breakers:C-HBR120 | Non-inventory | 20 Amp 1 P Breaker | 4.7 | 3.98
Breakers:C-HBR220 | Non-inventory | 20A DP Breaker | 10.58 | 8.99
Breakers:C-HBR260 | Non-inventory | 60 A DP Breaker | 10.58 | 8.99
Breakers:CL120 | Non-inventory | 1 Pole 20 Amp Breaker - Store - 06/03/09 | 4.92 | 4.26
Breakers:GHB3015 | Non-inventory | 3 Phase 15 Amp 480Volt Breaker - 11/10/08 Store | 177.22 | 140
Breakers:HFD3050 | Non-inventory | 3P 50 Amp Breaker 300 Volt | 447.06 | 380
Breakers:HOM220 | Non-inventory | 2 Pole 20 Amp Breaker - 9/9/08 Store | 10.59 | 9
Breakers:LA36350 | Non-inventory | 3P 350 Amp 1 Line Breaker - 3/16/09 Store | 1851.85 | 1111.11
Breakers:Q120 | Non-inventory | Siemens 20 Amp 1Pole Breaker 09/02/09 Store | 8.15 | 3.41
Breakers:Q2100 | Non-inventory | 2P 100Amp Breaker | 37.7 | 28.85
Breakers:Q220 | Non-inventory | 2P 20Amp Breaker | 8.24 | 8.19
Breakers:Q230 | Non-inventory | Siemens's Q230 Breaker | 7.95
Breakers:Q250 | Non-inventory | 2P 50Amp Breaker | 8.83 | 7.98
Breakers:Q260 | Non-inventory | 2P 60Amp Breaker - 06/26/09 Store | 9.18 | 7.8
Breakers:QO120 | Non-inventory | QO 1 Pole 20 Amp Breaker | 7.15 | 6.86
Breakers:QO220 | Non-inventory | 2 pole 20 amp branch breaker - 9/25/08 Store | 16.86 | 14.33
Breakers:QO230 | Non-inventory | QO 2 Pole 30 Amp Breaker - 1/14/09 Store | 15.58 | 15.58
Breakers:QOB230 | Non-inventory | 2P 30 Amp Bolt on Breaker | 56.53
Breakers:QOC24US | Non-inventory | Surface Cover | 12.76 | 8.93
Breakers:SIEQ115 | Non-inventory | 1P 15A Breaker | 3.41
Breakers:SIEQ120AFC | Non-inventory | 1P 20A Arc Fault Breaker | 40.91
Breakers:TEY240 | Non-inventory | 2P 40 Amp 277-480V Breaker Bolt-On - 10/27/08 Store | 94.94 | 75
Breakers:TEY3100 | Non-inventory | 3P 100A 480V Breaker - 10/14/08 Store | 187.35 | 148
Breakers:TEY330 | Non-inventory | 3P 30A 480V Breaker - 10/14/08 Store | 129.42 | 110
Breakers:TEY340 | Non-inventory | 3P 40A 480V Breaker - 10/14/08 Store | 129.42 | 110
Breakers:TEY350 | Non-inventory | 3P 50Amp 480V Breaker - 11/6/08 Store | 139.46 | 110
Breakers:THQC2140WL | Non-inventory | 2P 40 Amp Breaker Line Load | 53.55 | 45.51
Breakers:THQCFMK | Non-inventory | Front/Rear Mounting Clips | 1.08 | 0.91
Breakers:THQL1115 | Non-inventory | GE 15 Amp 1 Pole Breaker | 3.76 | 3.19
Breakers:THQL1120 | Non-inventory | 1P 20A 120V Plug-in CB - 09/02/09 Store | 3.96 | 4.41
Breakers:THQL1120GF | Non-inventory | 1P 20A GFI Breaker - 11/19/08 Store | 48.42 | 38.25
Breakers:THQL21100 | Non-inventory | 100 Amp 2P Branch Breaker - 11/10/08 Store | 36.21 | 28.6
Breakers:THQL2120 | Non-inventory | GE - 2P20A 120/240 Plug-In CB - 11/6/08 Store | 11.76 | 9.99
Breakers:tHQL2120GF | Non-inventory | 2 Pole GE GFI Breaker - Store 10/16/09 | 98.47 | 77.78
Breakers:THQL2130 | Non-inventory | GE 30 Amp 2 Pole Breaker - 12/07/09 Store | 9.87 | 8.75
Breakers:THQL2150 | Non-inventory | 2P 50A 120/240 Plug-In CB | 11.76 | 8.75
Breakers:THQL2160 | Non-inventory | 2P60A 120/240 Plg-In CB - GE | 11.76 | 9.99
Breakers:THQLRK2 | Non-inventory | Main Breaker Retainer Kit - 11/10/08 Store | 1.95 | 1.54
Breakers:TQD22200WL | Non-inventory | GE TQD22200WL 200 A Breaker | 90.91

## Bushings
Product/Service | Type | Description | Price | Cost | Qty On Hand
Bushings | Non-inventory |  | 0
Bushings:623652 | Non-inventory | 3/4" X 1/2" RE Bushing - 08/07/09 Store | 0.46 | 0.36
Bushings:832 | Non-inventory | Topaz 832 3/4 Bushing - 10/08/09 Store | 0.11 | 0.08
Bushings:834 | Non-inventory | 1-1/4" Plastic Bushing - 08/07/09 - | 0.18 | 0.14
Bushings:835 | Non-inventory | 1-1/2" Bushing - 10/7/08 Store | 0.16 | 0.1286
Bushings:836 | Non-inventory | 2" Plastic Bushing | 0.25
Bushings:838 | Non-inventory | 3" Plastic Bushing | 0.52
Bushings:O-ZGBLG-4124 | Non-inventory | 4" ins ground bushing - 08/11/09 - Store | 71.28 | 56.31
Bushings:O-ZRB100-75 | Non-inventory | 1 x 3/4 RE Bushing - 12/2/08 Store | 1.45 | 1.14
Bushings:OZGRB-321S | Non-inventory | 3/4" X 1/2" Red Bushing - 1/5/09 State | 1.41 | 1.103
Bushings:OZGRB-322S | Non-inventory | 1 x 3/4 Red Bush - 09/02/09 - Store | 2.04 | 1.61
Bushings:OZGRB-327S | Non-inventory | 1-1/2" x 1-1/4" Red Bush | 3.46 | 2.9415
Bushings:OZGRB-329S | Non-inventory | 1-1/2 X 3/4 Red Bushing - 11/19/08 State | 4.8 | 3.7807
Bushings:OZGRB-332 | Non-inventory | 2 x 1-1/4 Red Bushing | 7.71 | 6.55
Bushings:OZGRB-341 | Non-inventory | 3" X 2" Red Bushing - 11/19/08 State | 14.88 | 11.75
Bushings:OZGRB-356 | Non-inventory | 4 X 3" Red Bushing - 7/24/08 | 25.09 | 21.32
Bushings:PB-1000-D | Non-inventory | 4" 105D PLS INSBSH | 1.7 | 1.478
Bushings:PB-300-D | Non-inventory | 1" Plastic Bushing - 3/13/09 Store | 0.27 | 0.21
Bushings:PB-400-D | Non-inventory | 1-1/4" Plastic Bushing - 05/11/09 Store | 0.32 | 0.249
Bushings:PB-500-D | Non-inventory | 1-1/2' 105D Pls Insbsh | 0.35 | 0.28588
Bushings:PB-600-D | Non-inventory | Neer 2" 105D Plastic Inser Bsh | 0.56 | 0.46195
Bushings:PB-800-D | Non-inventory | 3" 105D Plastic ins Bsh | 1.51 | 1.2795

## Cadweld
Product/Service | Type | Description | Price | Cost | Qty On Hand
CAD115PLUSF20 | Non-inventory | GRDG Weld Metal - Store - 05/13/09 | 8.42 | 7.15
CAD150PLUSF20 | Non-inventory | GRDG Weld Metal 150 Shot Cadweld - 1/29/08 Store | 12.88 | 10.17
CAD200PLUSF20 | Non-inventory | GRDG Weld Metal 200 Shot Cadweld - 1/29/09 Store | 15.97 | 12.61
CAD90PLUSF20 | Non-inventory | #90 Shot Cadweld - 05/13/09 Store | 9.14 | 7.217
CADGRC162Q | Non-inventory | Cable to Grd Rod Mold | 94.12 | 80
CADGRC182Q | Non-inventory | Mold 4/0 Cable to 3/4 G | 80.65 | 68.5422
CADGTC162G | Non-inventory | Cable to Grd Rod Mold - Store 05/13/09 | 108.04 | 85.35
CADGTC182Q | Non-inventory | 3/4 Rod to 4/0 Cable Mol | 101.18 | 86
CADPLUSCU | Non-inventory | Control Unit | 155.39 | 132.08
CADTAC2G2G | Non-inventory | Holder Tee Cable Mold - 8/11/08 | 91.77 | 78
CADTAC2Q2Q | Non-inventory | 4/0 To 4/0 Cable Mold- 10/24/08 State | 98.83 | 84
CADXAC2Q2Q | Non-inventory | 4/0-4/0 Mold | 102.26 | 86.92

## Disconnects
Product/Service | Type | Description | Price | Cost | Qty On Hand
Disconnects | Non-inventory |  | 0 | 0
Disconnects:609591 | Non-inventory | 200 Amp Trailer Disconnect w/4 Spaces & Feed Thru Lugs 01/05/09 | 107.5063 | 84.93
Disconnects:C-HDG222NRB-PM | Non-inventory | 60A 3R Fused PM Disc | 61.97 | 52.67
Disconnects:C-HDH361FRK | Non-inventory | Safety Switch 30A 3P3F 600V NEMA 3R - 10/23/08 State | 287.84 | 244.66
Disconnects:C-HDH362FRK | Non-inventory | Discon 3P 60A 600V 3 Fuse Rt | 365.2 | 310.419
Disconnects:C-HDH362FRK-PM | Non-inventory | 3P 60A 600V Disc PM | 294.12 | 250
Disconnects:C-HDH364FRK | Non-inventory | Disc 3P 200A 3F R/B 600V | 626.87 | 532.8375
Disconnects:C-HDH365FRK | Non-inventory | 400A NEMA 3R 600V Fused NEMA 3R - 9/26/08 State | 1573.42 | 1337.4
Disconnects:C-HDH367FRK | Non-inventory | Safety Switch 800A 3P3F 600V NEMA 3R - 7/22/08 | 4823.53 | 4100
Disconnects:GF222NR | Non-inventory | 60A 240V 3R 2P Fused - 08/07/09 - Store | 95.99 | 75.83
Disconnects:SCE192712-EA | Non-inventory | SCE192712-EA | 1072.48 | 911.6
Disconnects:SCE4942R9EA | Non-inventory | Disconnect 15 KV 600 Amp - 10/21/08 State | 227.92 | 193.723
Disconnects:SCE89072R8CD | Non-inventory | 15 KV 200A Disconnect - 06/17/09 - State | 118.86 | 106.97
Disconnects - Trailer | Non-inventory |  | 0
Disconnects - Trailer:BBC 609591 | Non-inventory | 200 amp Trailer Disconnect w/4 spaces & Feed Thru Lugs | 83.79
Disconnects - Trailer:W0404MB1200CT | Non-inventory | 200 Amp Trailer Disconnect w/ 4 spaces & feed thru lugs - 06/26/09 Store | 125.18 | 98.89
Disconnects - Weather Proof | Non-inventory |  | 0
Disconnects - Weather Proof:BR816B200RF | Non-inventory | BR 200amp W/P disconnect w/extra circuits | 113.82 | 96.75

## Fuses
Product/Service | Type | Description | Price | Cost | Qty On Hand
Fuselinks | Non-inventory |  | 0
Fuselinks:BUSKTK-1 | Non-inventory | 600V Midget Fuse | 3.24 | 2.75
Fuselinks:BUSKTK-10 | Non-inventory | 600V Midget Fuse | 2.48 | 2.1
Fuselinks:BUSKTK-5 | Non-inventory | 5 AMP 600V Midget Fuse | 3.87 | 3.06
Fuselinks:EF20TCCIR | Non-inventory | 20 Amp HV Fuse Link - 05/21/09 Store | 2.11 | 1.67
Fuselinks:EF30TCCIR | Non-inventory | 30 Amp HV Fuse Link - 8/19/09 Store | 2.12 | 1.67
Fuselinks:EF3TNCCIR | Non-inventory | 3 Amp HV Fuse Link - 06/18/09 Store | 2.12 | 1.67
Fuselinks:IDSR030 | Non-inventory | L-F IDSR030 30A fuse 600V - 06/22/09 - Store | 7.32 | 5.78
Fuselinks:IDSR100 | Non-inventory | IDSR 100 600 Volt Fuse Store 05/11/09 | 32.13 | 25.38
Fuselinks:IDSR300 | Non-inventory | 300A 600V Time Delay Fuse - Store - 06/10/09 | 133.66 | 105.59
Fuselinks:KLK005 | Non-inventory | 5 amp fuse - 08/07/09 - Store | 4.71 | 3.72
Fuselinks:KLK10 | Non-inventory |  | 11.59
Fuselinks:KTK-2 | Non-inventory | 2 Amp 600v Midget Fuse - Store - 05/11/09 | 3.87 | 3.06
Fuselinks:L-FFLNR015 | Non-inventory | 250V Fuse - Store - 06/29/09 | 5.57 | 4.04
Fuselinks:L-FFLNR020 | Non-inventory | 250 V RK5 TK Fuse - Store - 06/29/09 | 5.57 | 4.4
Fuselinks:L-FFLNR030 | Non-inventory | 250V RK5 TD Fuse | 3.98 | 3.3798
Fuselinks:L-FFLNR060ID | Non-inventory | 250 V Indicator Fuse | 6.075
Fuselinks:L-FFLSR400ID | Non-inventory | 600 V Ind Fuse | 91.43 | 79.5
Fuselinks:L-FIDSR020 | Non-inventory | 600V RK5 Fuse | 8.83 | 7.5
Fuselinks:L-FIDSR030 | Non-inventory | 600VAC/DC 200 KAIC RK5 Fuse Indicator TD 30A - 10/23/08 State | 9.3 | 7.8902
Fuselinks:L-FIDSR060 | Non-inventory | 600V RK5 Fuse | 10.51 | 9.45
Fuselinks:L-FIDSR100 | Non-inventory | 600 V RK5 Fuse | 25.97 | 22.0692
Fuselinks:L-FIDSR150 | Non-inventory | 600 V RK5 Fuse - 10/7/08 State | 62.36 | 53
Fuselinks:L-FIDSR200 | Non-inventory | 600 V RK5 Fuse | 51.53 | 43.8
Fuselinks:L-FIDSR300 | Non-inventory | Fuse Indicator TD 300A 600VAC/DC 200KAIC RK5 - 9/26/08 State | 124.71 | 106
Fuselinks:L-FIDSR400 | Non-inventory | Fuse Indicator TD 400A 600V AC/CD 200KAIC RK5 - 6/3/09 State | 120.26 | 95
Fuselinks:L-FIDSRO60 | Non-inventory | 600 V RK5 Fuse | 10.56 | 9.181
Fuselinks:L-FKLK003 | Non-inventory | 600V Midget Fuse 3Amp - 10/15/08 Store | 5 | 4.25
Fuselinks:L-FKLPC800 | Non-inventory | 600V Class L Fuse - 8/1/08 | 352.95 | 300
Fuselinks:L-FL60030M-2SQ | Non-inventory | 2P Fuse Block 30A 600V - 05/11/08 Store | 11.46 | 9.05
Fuselinks:L-FLH25060-2C | Non-inventory | FUSE BLOCK 2P 60A 250VAC LUG TERM CLASS H - 02/13/09 - State | 26.28 | 20.76
Fuselinks:L-FNLN020 | Non-inventory | 250V Class K5 Fuse | 1.62 | 1.362
Fuselinks:L-FNLN030 | Non-inventory | 250V Class K5 Fuse | 1.77 | 1.4904
Fuselinks:L-FNLN040 | Non-inventory | FUSE ONE TIME 40A 250VAC 50KAIC CLASS K5 - 02/16/09 - State | 4.22 | 3.33
Fuselinks:L-FNLN060 | Non-inventory | 250V Class K5 Fuse | 2.69 | 2.278
Fuselinks:L-FNLS100 | Non-inventory | 600V Class K5 Fuse | 18.32 | 15.57
Fuselinks:L-MM100TA23 | Non-inventory | 100 A Fuselink | 6.26 | 5.32
Fuselinks:L-MM10TA23 | Non-inventory | 10 Amp Fuselink | 3.75 | 2.96
Fuselinks:L-MM12TA23 | Non-inventory | 12 Amp Fuselink | 3.75 | 2.96
Fuselinks:L-MM140TA23 | Non-inventory | 140 Amp Fuselink Type T Store - 06/09/09 | 12.52 | 10.6375
Fuselinks:L-MM15TA23 | Non-inventory | 15 Amp Fuselink | 3.75 | 2.96
Fuselinks:L-MM1TA23 | Non-inventory | 1 Amp Fuselink Type T | 3.49 | 2.96
Fuselinks:L-MM200TA23 | Non-inventory | 200 Amp Fuselink - 01/21/09 | 20.52 | 17.44
Fuselinks:L-MM20TA23 | Non-inventory | 20 Amp Fuselink | 4.33 | 3.42
Fuselinks:L-MM25TA23 | Non-inventory | 25 Amp Fuselink Type T - 8/11/08 State | 4.04 | 3.43
Fuselinks:L-MM30TA23 | Non-inventory | 30 Amp Fuselink Type T - 8/11/08 State | 4.04 | 3.43
Fuselinks:L-MM3TA23 | Non-inventory | 3A Fuselink | 3.49 | 2.96
Fuselinks:L-MM40TA23 | Non-inventory | 40 Amp FuseLink Type T - 8/11/08 State | 4.04 | 3.43
Fuselinks:L-MM50TA23 | Non-inventory | 50 Amp Fuse Link Type T - 8/11/08 State | 4.04 | 3.43
Fuselinks:L-MM65TA23 | Non-inventory | 65 Amp Fuselink Type T - 2/13/09 State | 4.55 | 5.96
Fuselinks:L-MM6TA23 | Non-inventory | 6 Amp Fuselink Type T - 12/12/08 State | 3.75 | 2.96
Fuselinks:L-MM80TA23 | Non-inventory | 80 Amp Fuselink Type T - 2/13/09 State | 7.55 | 5.96
Fuselinks:L-MM8TA23 | Non-inventory | 8 Amp Fuselink | 2.85 | 2.4125
Fuselinks:L60030M-1SQ | Non-inventory | 1G Fuseblock - 08/07/09 - Store | 5.15 | 4.07
Fuselinks:SCE614080 | Non-inventory | 34.5 KV Power Fuse 80 Amp - 4/23/09 Store | 150 | 118.5
Fuselinks:TRS100R | Non-inventory | 100 Amp 600V Dual Element Fuses | 18.66 | 15.86
Fuselinks:TRS200R | Non-inventory | 200 Amp 600 V Dual Element Fuses | 37.32 | 31.72
Fuselinks:TRS250R | Non-inventory | 600V 250 Amp Time Delay Fuse | 74.64 | 63.44
Fuses - Time Delay | Non-inventory |  | 0 | 0
Fuses - Time Delay:40 Amp 600 V T/D Fuse | Non-inventory | 40 Amp 600 V T/D Fuse | 10.53
Fuses - Time Delay:FRSR500 | Non-inventory | 500Amp 600Volt Time Delay Fuses for Slab Camp | 109.42 | 93
Fuses - Time Delay:L-FFRSR30 | Non-inventory | 30Amp 600V Time Delay Fuse - 12/2/08 Store | 5.98 | 4.72
Fuses - Time Delay:L-FFRSR60 | Non-inventory | 60 Amp 600 Volt Time Delay Fuse - 05/11/08 Store | 10.98 | 8.67

## Grounding
Product/Service | Type | Description | Price | Cost | Qty On Hand
Ground Clamps & Rods | Non-inventory |  | 0
Ground Clamps & Rods:3/4" X 10' | Non-inventory | 3/4" x 10' Ground Rod | 25.15 | 21.37
Ground Clamps & Rods:30774 | Non-inventory | Green Ground Pigtail - 9/12/08 Store | 0.26 | 0.2127
Ground Clamps & Rods:3904 | Non-inventory | 2-1/2 to 3-1/2 Ground Clamp - 1/21/09 Store | 61.87 | 48.87
Ground Clamps & Rods:5/8" Ground Clamp | Non-inventory | 5/8" Direct Bury Ground Rod Clamp - 08/03/09 Store | 1.19 | 1.13
Ground Clamps & Rods:5/8" x 8' Grnd Rod | Non-inventory | 5/8" x 8' Ground Rod - 06/26/09 Store | 10.67 | 10.45
Ground Clamps & Rods:90627 | Non-inventory | 1/2 to 1 Ground Clamp - 2/17/09 Store | 2.07 | 1.63
Ground Clamps & Rods:BURGCRT1/0 | Non-inventory | 1/2 to 3/4 Ground Rod Clamp | 1.77 | 1.5
Ground Clamps & Rods:BURGRC34 | Non-inventory | Ground Rod Clamp 3/4" | 2.52 | 2.1306
Ground Clamps & Rods:BURGRC58 | Non-inventory | 5/8 Ground Rod Clamp - 9/30/08 State | 1.85 | 1.1
Ground Clamps & Rods:LIN613480 | Non-inventory | Ground Rod 3/4" x 8' | 20.46 | 17.3875
Ground Clamps & Rods:LIN615800 | Non-inventory | Ground Rod 5/8" X 10' Copper - 8/4/08 | 19.42 | 16.5
Ground Clamps & Rods:LIN615880 | Non-inventory | Ground Rod 5/8 x 8' - 05/14/08 State | 15.03 | 12.77
Ground Clamps & Rods:LLIN613400 | Non-inventory | Ground Rod 3/4" X 10' Copper - 8/1/08 | 29.65 | 25.2
Ground Clamps & Rods:T-B3902 | Non-inventory | 1/2" to 1" Ground Clamp - 7/22/08 | 22.12 | 18.8
Ground Clamps & Rods:T-B3903 | Non-inventory | 1-1/4 to 2 Ground Clamp | 36.15 | 30.72
Ground Clamps & Rods:T-B3904 | Non-inventory | 2-/12 to 3-1/2 Ground Clamp - 8/19/08 State | 52.91 | 44.9635

## Hubs
Product/Service | Type | Description | Price | Cost | Qty On Hand
Hubs | Non-inventory |  | 0
Hubs:208 | Non-inventory | 3 Inch Watertight Hub - State - 06/10/09 | 29.37 | 23.2
Hubs:C-HDS075H1 | Non-inventory | Hub 3/4" WP | 8.19 | 6.9536
Hubs:C-HDS150H1 | Non-inventory | Hub 1-1/2" | 12.08 | 9.54
Hubs:C-HDS200H1 | Non-inventory | Hub 1" WP | 12.57 | 10.675
Hubs:C-HDS200H2 | Non-inventory | HUB 2" Wp 08/03/09 - Store | 10.18 | 8.04
Hubs:ECHS100 | Non-inventory | 1" Hub -08/07/09 Store | 8.01 | 6.33
Hubs:ECHS125 | Non-inventory | 1-1/4 Hub - 05/11/08 Store | 8.56 | 6.76
Hubs:ECHS200 | Non-inventory | 2" Hub for Panel | 6.79 | 5.77
Hubs:G-ETC100 | Non-inventory | 1" Universal Hub - 8/7/08 | 6.91 | 5.87
Hubs:G-ETC125 | Non-inventory | 1-1/4 Universal Hub | 6.05 | 5.1375
Hubs:G-ETC150 | Non-inventory | 1-1/2 Universal Hub | 10.6 | 8.8319
Hubs:G-ETC200 | Non-inventory | 2" Universal Hub | 6.8 | 6.2
Hubs:G-ETC75 | Non-inventory | 3/4 Universal Hub | 6.45 | 5.48
Hubs:H125-TB | Non-inventory | 1 1/4 Myers Hub 08/07/09 - Store | 8.94 | 7.06
Hubs:MYEST1 | Non-inventory | 1/2 Zinc Ins Hub | 5.24 | 4.4481
Hubs:MYEST10 | Non-inventory | 4-In Zinc Ins Hub - 06/03/09 - State | 41.16 | 34.98
Hubs:MYEST2 | Non-inventory | 3/4" Zinc Ins Hub -Store - 08/07/09 | 6.52 | 5.15
Hubs:MYEST3 | Non-inventory | 1" Zinc Ins Hub 08/07/09 - Store | 6.37 | 5.03
Hubs:MYEST4 | Non-inventory | 1-1/4 Zinc Ins Hub | 9.43 | 8.0069
Hubs:MYEST5 | Non-inventory | 1-1/2" Zinc Ins Hub | 6.53 | 5.5499
Hubs:MYEST7 | Non-inventory | 2-1/2" Zinc Ins Hub | 18.35 | 15.59
Hubs:MYEST8 | Non-inventory | 3" Zinc Ins Hub - 1/9/09 Store | 30.21 | 23.86
Hubs:T-BH100-TB | Non-inventory | 1" Zinc DC Hub - 10/23/08 State | 5.42 | 4.6
Hubs:T-BH125-TB | Non-inventory | 1-1/4" Zinc DC Hub - Store - 05/11/09 | 8.94 | 7.06
Hubs:T-BH150-TB | Non-inventory | 1-1/2" Zinc DC Hub | 6.65 | 5.65
Hubs:T-BH200-TB | Non-inventory | 2" Zinc DC Hub - 11/19/08 State | 12.36 | 9.76
Hubs:T-BH300-TB | Non-inventory | 3" Zinc DC Hub - 11/19/08 State | 31.77 | 27
Hubs:T-BH400-TB | Non-inventory | 4" Zinc DC Hub - 9/3/08 State | 59.79 | 50.815
Hubs:TC125 | Non-inventory | 1-1/4" Hub - 11/10/08 Store | 4.71 | 4
Hubs:TC200 | Non-inventory | 2" Hub | 9.3 | 7.9

## Insulator
Product/Service | Type | Description | Price | Cost | Qty On Hand
Insulators | Non-inventory |  | 0
Insulators:15 KV Silicone | Non-inventory | 15 KV silicone Dead End Insulator - 08/13/09 Store | 12.11 | 9.56
Insulators:35 KV DE Insulator | Non-inventory | 35 KV Silicone Dead End Insulator - 4/1/09 Store | 18.0253 | 14.24
Insulators:43R | Non-inventory | Pin Type 4 Fin Insulator - 06/18/09 Store | 29.37 | 23.2
Insulators:L-MCC6543015 | Non-inventory | Insulator Deadend Clevis Type # 15 KV - 03/23/09 State | 15.12 | 12.85
Insulators:L-MCC6543034 | Non-inventory | Insulator Deadend Clevis Tongue Type E 34.5 KV - 1/21/09 State | 26.05 | 22.14
Insulators:P53-2G | Non-inventory | Spool Insulator 53-2 - 05/19/09 - Store | 0.87 | 0.69
Insulators:P54-2G | Non-inventory | Johnny Ball Guy Strain Insulator - 06/03/09 Store | 1.52 | 1.2
Insulators:P57-1GR | Non-inventory | Pin Type Insulator - 4/14/09 Store | 7.88 | 6.22

## Line Material
Product/Service | Type | Description | Price | Cost | Qty On Hand
Line Materials | Non-inventory |  | 0
Line Materials:1/2 Guy Wire | Non-inventory | 18/2 Guy wire 03/23/09 Store | 0.81 | 0.64
Line Materials:10FtCrossArm | Non-inventory | 10 Ft Cross Arm - 08/13/09 Store | 43.59 | 34.44
Line Materials:11340 | Non-inventory | 16-14 #10 Nylon ring tongue - 06/17/09 - Store | 0.08 | 0.063
Line Materials:21254 | Non-inventory | Tyvek Wire Marker 1 - 45 Legend - 3/31/09 Store | 7.87 | 6.21
Line Materials:3/8 Guy Wire | Non-inventory | 3/8 Guy Wire - 09/04/09 Store | 0.6 | 0.62
Line Materials:36 Guy Strain Insulator | Non-inventory | 36" Guy Strain Insulator - Store - 08/13/09 | 22.2 | 17.54
Line Materials:5HD129 | Non-inventory | 8 Ft. Yellow Guy Guards - 08/20/09 - Store | 5.28 | 4.17
Line Materials:60"CrossArmBrace | Non-inventory | 60" Cross Arm Brace - 08/13/09 Store | 21.1 | 16.67
Line Materials:8' X Arm | Non-inventory | 8 Ft Crossarm Pentr Fir - 03/04/10 Store | 27.52 | 26.6
Line Materials:APC EPCT-KIT1 | Non-inventory | Power Patch Sealant Kit | 0
Line Materials:APC EPCT-KIT1G | Non-inventory | Power Patch sealant kit w/ tool-50-11 | 160.9
Line Materials:CAB315 | Non-inventory | L-MCAB315 Hanger Clip 4 1/2 dia - 06/17/09 - Store | 0.85 | 0.67
Line Materials:CCOCAB344 | Non-inventory | U Hanger S" X &" W/Safety Tip Bars - 06/03/09 - State | 0.89 | 0.801
Line Materials:HG207 1/4 | Non-inventory | 1/4 Dead End Grips - 06/26/09 Store | 2.95 | 1.54
Line Materials:HG209 5/16 | Non-inventory | 5/16 Dead End Grips - 06/16/09 Store | 2.25 | 1.78
Line Materials:HG210 3/8 | Non-inventory | 3/8 Dead End Grips - 08/13/09 - Store | 2.75 | 2.17
Line Materials:HG212 1/2 | Non-inventory | 1/2 Dead End Grips - 08/20/09 - Store | 10.21 | 8.06
Line Materials:HPS1082 | Non-inventory | Anchor 10" Expanding 1" rod - State - 03/31/09 | 41.11 | 32.48
Line Materials:HPS2172597324 | Non-inventory | PDV-65 ND Dist 10/84 KV MCOV (Ohio Brass) - 06/23/09 State | 45.38 | 35.85
Line Materials:HPS4010350215 | Non-inventory | INS' Deadend Clevis Tongue 35KV - Store - 06/03/09 | 31.15 | 24.61
Line Materials:HPS88135 | Non-inventory | Anchor 8-way 5/8 or 3/4 Store - 05/08/09 | 17.47 | 19.751
Line Materials:HPSGEP6 | Non-inventory | Combo Pole Eye Plate - 06/26/09 -Store | 11.46 | 9.05
Line Materials:HPSGS16036CC1 | Non-inventory | 36 Inch Hubbell ins. Guy Strain - 08/20/09 Store | 22.2 | 17.54
Line Materials:HPSGS16054CC2 | Non-inventory | 54 Inch 16K Guy Strain Clevis - Store - 06/09/09 | 25.8 | 20.38
Line Materials:HPSGS16096CC2 | Non-inventory | 96 Inch 16K Guy Strain Clevis - Store - 07/02/09 | 35.71 | 28.2
Line Materials:HUB1082 | Non-inventory | 200 Sq Exp Anchors -08/13/09 Store | 39.99 | 31.59
Line Materials:HUB88135 | Non-inventory | HUB88135 135 Sq. Exp. Anchors - 8 inch - Store - 08/19/09 | 17.16 | 13.56
Line Materials:HUBGS16054CC1 | Non-inventory | Guy Strain Insulated 54 Inch - 4/3/09 Store | 26.44 | 20.88
Line Materials:L-M0B32439 | Non-inventory | Ins 10" Sup Clevis Typ | 16.75 | 14.23
Line Materials:L-M1042-10-OCP | Non-inventory | 10' X Brace with Hardware | 436.3 | 370.85
Line Materials:L-M12OEBALL | Non-inventory | 12" Std Orange Marker | 82.55 | 70.16
Line Materials:L-M4040460100 | Non-inventory | Polymer Line Post | 96.03 | 81.62
Line Materials:L-M4040460209 | Non-inventory | 46 KV Post | 86.05 | 73.14
Line Materials:L-M4258 | Non-inventory | 5/8" Thimble Pin 1" T - 11/25/08 State | 10.31 | 8.14
Line Materials:L-M4332 | Non-inventory | 5/8 Thimble Pin 1 Inch Thread - 08/13/08 State | 9.79 | 7.72
Line Materials:L-M43R | Non-inventory | Insulator Pin Type 4 Fins -10/7/08 State | 25.89 | 22
Line Materials:L-M53-2 | Non-inventory | Insulator 3" Spool 1-3/4" Neck ANSI 53-2 | 1.18 | 1
Line Materials:L-M5HD129 | Non-inventory | 8' Yellow Guy Guards 5HD129 - 2/26/09 Store | 5.28 | 4.17
Line Materials:L-M7195 | Non-inventory | Clamp 6-2 ACSR Wedge - 05/07/08 State | 2.16 | 1.71
Line Materials:L-MA15M3-6 | Non-inventory | Mount Transformer Cluster - 06/18/09 Store | 338.96 | 267.78
Line Materials:L-MA15M3-9 | Non-inventory | Mount Transformer Cluster -12/12/08 State | 354.43 | 280
Line Materials:L-MA1HCA | Non-inventory | Mount Equipment - 10/14/08 State | 24.12 | 20.5
Line Materials:L-MAHD2PAL16 | Non-inventory | 16 ft Heavy Duty Platform - 03/03/09 State | 2253.17 | 1780
Line Materials:L-MATS336AL | Non-inventory | Auto Splice 336.4 26/7 ACSR | 52.77 | 44.85
Line Materials:L-MCAB297 | Non-inventory | Telewire Hook 1-1/4" .187 Wire | 0.38 | 0.312
Line Materials:L-MCAB315 | Non-inventory | Hanger Cable Clip Rd Wire 4-1/2 in Dia | 0.77 | 0.652
Line Materials:L-MCAB344 | Non-inventory | U Hanger 5" x 7" with Safety Tip Bars | 0.96 | 0.801
Line Materials:L-MCAB7387 | Non-inventory | Rope Hanger 18" .208 Hook - 8/12/08 State | 0.75 | 0.625
Line Materials:L-MCAF10 | Non-inventory | CrossArm Fir Ind 10' - 06/18/09 Store | 43.59 | 34.44
Line Materials:L-MCAF12 | Non-inventory | Crossarm 3-3/4 x 4-3/4 x 12' DF | 72.06 | 61.25
Line Materials:L-MCAF14 | Non-inventory | Crossarm 14' 3-3/4 x 4-3/4 | 93.11 | 79.1396
Line Materials:L-MCAF16 | Non-inventory | Crossarm Fir 16' 4-3/4" x 5 - 08/13/09 Store | 192.68 | 153
Line Materials:L-MCAF20 | Non-inventory | Crossarm 4-3/4 x 5-3/4 x 20' DF - 8/22/08 State | 201.77 | 171.5
Line Materials:L-MCAF22 | Non-inventory | Crossarm Fir 22' 43/4x5 - 8/5/08 | 224.71 | 191
Line Materials:L-MCAF8 | Non-inventory | Crossarm Fir Ind 8' x 3-1/2 x 4-1/2 - 10/24/08 State | 26.89 | 22.85
Line Materials:L-MCC9051304 | Non-inventory | Insulator Pin Type F Neck 13.2 KV ANSI 55-4 - 12/09/08 State | 4.72 | 4.01
Line Materials:L-MCC9071001 | Non-inventory | Insulator D E suspension | 12.64 | 9.7202
Line Materials:L-MCC9091042 | Non-inventory | Insulator Medium Guy Str | 3.75 | 3.18
Line Materials:L-MCOGA56X | Non-inventory | Attachment Guy - Guy Hook 1/2" Strand - 03/03/09 State | 4.26 | 3.39
Line Materials:L-MCOGCC1536R | Non-inventory | Rod Fiberglass Strain 36" 16,000# Clevis-Clevis -12/09/08 State | 25.44 | 21.62
Line Materials:L-MCOGCC1554R | Non-inventory | Rod Fiberglass Strain 54" 16,000# Clevis - 10/7/08 State | 23.35 | 19.84
Line Materials:L-MCOGCC1596R | Non-inventory | Rod Fiberglass Strain 96 #159-96R | 33.89 | 28.8
Line Materials:L-MCOMGA5 | Non-inventory | Attachment Guy Strain - Pole Eye Plate - 8/1/08 | 6.11 | 5.19
Line Materials:L-MCOUSA8040-6 | Non-inventory | Brace Pole Push # PAX138 | 61.84 | 52.55
Line Materials:L-MCR330 | Non-inventory | Anchor Rock 30" J3437 - 8/20/08 State | 37.23 | 31.64
Line Materials:L-MCR353 | Non-inventory | Anchor Rock 53" J3438 | 32.35 | 27.4858
Line Materials:L-MHD528 | Non-inventory | 4/0 DEAD ENDS - 08/03/09 Store | 4.92 | 3.89
Line Materials:L-MHG2071/4 | Non-inventory | Grips 1/4" Guy Deadend - 9/26/08 State | 2.49 | 2.11
Line Materials:L-MHG210 3/8 | Non-inventory | 3/8 Dead End Grips - 2/18/09 Store | 2.75 | 2.17
Line Materials:L-MJ1096 | Non-inventory | 3 Bolt Suspension Clamp - 9/26/08 State | 6.39 | 5.428
Line Materials:L-MJ1368 | Non-inventory | Pin Pole Top 18" Base Le3ad Thread - 9/9/08 State | 8.79 | 7.47
Line Materials:L-MJ1501 | Non-inventory | Fittings Pole Plate Side -11-19-08 State | 20.91 | 17.77
Line Materials:L-MJ1502 | Non-inventory | Clamp End Fitting 11/19/08 State | 23.48 | 19.95
Line Materials:L-MJ206Z | Non-inventory | X Arm Pin Long 4/8 Shank 6" - 12/09/08 State | 5.76 | 4.89
Line Materials:L-MJ215 | Non-inventory | Corner Cross Arm Pin - 9/2/08 State | 17.32 | 14.72
Line Materials:L-MJ2235 | Non-inventory | Figure 8 Cable Hanger | 13.89 | 11.796
Line Materials:L-MJ5088Z | Non-inventory | Nylon Wireholder Conduit MNT | 7.05 | 5.981
Line Materials:L-MJ5130 | Non-inventory | Brace Wood HD 60 X 30 | 36.33 | 30.871
Line Materials:L-MJ515 | Non-inventory | Deadend Tongue Bracket -12/09/08 State | 4.41 | 3.48
Line Materials:L-MJ6493 | Non-inventory | Staple Copper 1/4" Wide x 1-1/4" - 10/10/08 State | 0.18 | 0.148
Line Materials:L-MJ6495 | Non-inventory | Staple Copper 3/8" Wide | 0.25 | 0.36
Line Materials:L-MJ6496 | Non-inventory | Staple Copper Coated 2 x 1/2 x .162 Rolled Point | 0.3 | 0.25
Line Materials:L-MJ6658 | Non-inventory | 14" Extension Link | 12.75 | 10.9
Line Materials:L-MJ707Y | Non-inventory | 8' Yellow Guy Guard - 12/09/08 State | 5.5 | 4.67
Line Materials:L-MJ7128 | Non-inventory | 28" X-Arm Brace - 11/25/08 State | 5.55 | 4.71
Line Materials:L-MJ7417 | Non-inventory | Anchor Rod 5/8" X 7' Thimble Eye - 10/21/08 State | 17.1 | 14.53
Line Materials:L-MJ7516 | Non-inventory | Anchor Rod 5/8" X 6' Twin Eye - 3/4/09 Store | 12.38 | 17.75
Line Materials:L-MJ769 | Non-inventory | 3 Wire/ 4 Wire Rck wo/Ins | 17.59 | 14.946
Line Materials:L-MJ8135 | Non-inventory | 8-Way Expanding Anchor 8" - 03/03/09 State | 17.47 | 16.72
Line Materials:L-MJ8200-1 | Non-inventory | Anchor 10" 8-Way Expanding 1" Rod | 33.92 | 28.83
Line Materials:L-MJ93 | Non-inventory | Clevis 4" Ext use with J101 or J151 WO/Insulator - 10/7/08 State | 4.44 | 3.761
Line Materials:L-MJ931 | Non-inventory | 6" Guy Clamp - State - 12/09/08 | 5.89 | 5.0005
Line Materials:L-MKUH25KVA | Non-inventory | XFMR 12470/7200 120/240 Kuhlman | 840.25 | 718.15
Line Materials:L-MOE12MARKER | Non-inventory | 12" Type JX Orange Marker - 3/17/09 State | 98.68 | 77.95
Line Materials:L-MOGCC1554R | Non-inventory | Rod Fiberglass Strain 54 | 27.36 | 21.0356
Line Materials:L-MPBG2115 | Non-inventory | Big-Grip Dead-End 1/2" 7 or 19 Wire | 10.46 | 8.89
Line Materials:L-MPDBST1103 | Non-inventory | # 1/0 ACSR DS Side Tie | 5.71 | 4.876
Line Materials:L-MPGDE2106 | Non-inventory | Grips 5/16" Guy Deadend | 2.47 | 2.0917
Line Materials:L-MPGDE2107 | Non-inventory | Grips 3/8" Guy Deadend GDE1107 - 01/21/09 State | 3.38 | 2.87
Line Materials:L-MPNDE9502 | Non-inventory | Grip for 14/2 CRW Tele | 3.06 | 2.591
Line Materials:L-MRPRS6 | Non-inventory | Clamp Telephone Cable We | 1.33 | 1.125
Line Materials:MACJA4730R | Non-inventory | Brace Wood HD 60 X 30 30" Drop - 6/03/09 State | 39.09 | 30.871
Line Materials:P093 | Non-inventory | Clevis - 05/19/09 - Store | 2.87 | 2.26
Line Materials:P206Z | Non-inventory | Steel Pin Nylon - 06/22/2009 Store | 5.31 | 4.19
Line Materials:P554GR | Non-inventory | 13.5 KV Porc Pin Type - 06/10/09 Store | 4.06 | 3.2
Line Materials:P647 | Non-inventory | Steel Pin - 4/14/09 Store | 10.06 | 7.94
Line Materials:P7128 | Non-inventory | 28" Arm Brace - 05/18/09 Store | 4.51 | 3.56
Line Materials:P7516 | Non-inventory | 5/8 X 6' Twin Eye Anchor Rod - 08/19/09 - Store | 16.38 | 12.94
Line Materials:P7517 | Non-inventory | 5/8 X7 Ft Twin Eye Rod 08/13/09 - Store | 16.38 | 12.94
Line Materials:P7527 | Non-inventory | 3/4X7 Ft Twin Eye Rod - 03/23/09 - Store | 16.67 | 13.17
Line Materials:PG46N | Non-inventory | Hubbell AL D/E Strain Clamp - 08/31/09 Store | 9.21 | 7.11
Line Materials:PG57N | Non-inventory | Hubbell Strain Clamp - 06/26/09 Store | 12.94 | 10.22
Line Materials:PG70N | Non-inventory | AL DE Strin Clamp - 08/04/09 Store | 21.9 | 17.3
Line Materials:PGTCAF16 | Non-inventory | CRSSARM 4-3/4 X 5-3/4 X 16 FT DF | 173.42 | 137
Line Materials:R7187 | Non-inventory | 1/0-4 ACSR Wedge Clamp - 08/25/09 Store | 3.31 | 2.61
Line Materials:RSR-012 | Non-inventory | .50 Strin Conn .063 - .125 - 3/31/09 Store | 3.09 | 2.44
Line Materials:RSR-103 | Non-inventory | .50 Strin Conn .125 - .188 - 3/31/09 Store | 3.09 | 2.44
Line Materials:RSR-106 | Non-inventory | .50 Cord Grip .312 - .375 Dia - 10/08/09 Store | 3.08 | 2.43
Line Materials:RSR-109 | Non-inventory | .50 Cord Grip .500 - .562 Dia - 10/16/09 Store | 3.18 | 2.51
Line Materials:RSR-110 | Non-inventory | .50 Cord Grip .562 - .625 Dia. - 05/21/09 | 3.08 | 2.43
Line Materials:WR9 | Non-inventory | 6 to 8 H Tap Blackburn - 6/22/09 Store | 0.63 | 0.49
Line Materials:WTM-12JX | Non-inventory | 12" Orange H/V Wire Marker - 3/23/09 Store | 110.07 | 86.95
Line Materials:YHN-500 | Non-inventory | 4/0-477 Run 2/0 Tap ACSR | 3.8 | 3

## Locknuts
Product/Service | Type | Description | Price | Cost | Qty On Hand
Lock Nuts | Non-inventory |  | 0
Lock Nuts:281 | Non-inventory | 1/2" Locknut - 10/08/09 Store | 0.11 | 0.07
Lock Nuts:282 | Non-inventory | 3/4" Locknut - Store - 12/7/09 | 0.1 | 0.09
Lock Nuts:283 | Non-inventory | 1" Locknut - 3/13/09 Store | 0.35 | 0.2698
Lock Nuts:284 | Non-inventory | 1-1/4" Locknut 08/07/09 Store | 0.22 | 0.17
Lock Nuts:285 | Non-inventory | 2-1/2" Steel Locknut - 11/12/08 Store | 0.32 | 0.2467
Lock Nuts:286 | Non-inventory | 2" Locknut - 10/08/09 Store | 0.49 | 0.32
Lock Nuts:288 | Non-inventory | 3" Locknut - Store - 06/10/09 | 1.52 | 1.2
Lock Nuts:LN101 | Non-inventory | 1/2" Steel Locknut - 05/21/09 Store | 0.09 | 0.065
Lock Nuts:LN102 | Non-inventory | Steel City 3/4" Steel Locknut - 7/9/08 | 0.1 | 0.08
Lock Nuts:LN103 | Non-inventory | 1" Steel Locknut | 0.24 | 0.1972
Lock Nuts:LN104 | Non-inventory | SC 1-14/" Steel Locknut - 4/16/09 Store | 0.32 | 0.27
Lock Nuts:LN105 | Non-inventory | 1-1/2" Steel Locknut - Steel City | 0.41 | 0.33814
Lock Nuts:LN106 | Non-inventory | 2" Steel Locknut | 0.43 | 0.356
Lock Nuts:LN107 | Non-inventory | 2-1/2" Mall Locknut | 1.1412 | 0.966
Lock Nuts:LN108 | Non-inventory | 3" Thin Locknut - 8/26/08 State | 1.1 | 0.933
Lock Nuts:LN110 | Non-inventory | 4" locknut 08/24/09 - Store | 2.25 | 1.77

## Lugs
Product/Service | Type | Description | Price | Cost | Qty On Hand
Lugs | Non-inventory |  | 0
Lugs:90712 | Non-inventory | #14 ti #4 1 hole lug -07/14/09 - store | 0.43 | 0.27
Lugs:90714 | Non-inventory | #2 1-Hole Mechanical Lug - 4/16/09 Store | 0.49 | 0.35
Lugs:90716 | Non-inventory | Lug - 1 Hole #14-1/0 - 4/16/09 Store | 0.98 | 0.77
Lugs:90720 | Non-inventory | #6-300 1 hole mech lug - 01/08/09 | 1.63 | 1.29
Lugs:90724 | Non-inventory | 500 MCM Lug - Store - 06/03/09 | 11.81 | 9.33
Lugs:90814 | Non-inventory | 2/0 2 Port Lug - Store - 07/14/09 | 2.22 | 1.75
Lugs:93112 | Non-inventory | 2/0 2 Hole 1/2 Alum Lug - Store - 05/14/09 | 3.1412 | 2.6656
Lugs:93116 | Non-inventory | 4/0 2 Hole Lug 1/2 Hole | 4.2 | 3.5616
Lugs:94234 | Non-inventory | 1/0 wore with 3/8 hole lug - Store - 05/14/09 | 2.9 | 2.29
Lugs:94334 | Non-inventory | #2 Wire 2 Hole CU Lug 1/2 Hole Lug - Store - 06/22/09 | 3.22 | 2.54
Lugs:94356 | Non-inventory | 2/9 Long 2 Hole Lug 1/2 Hole - 3/4/10 Store | 3.78 | 2.98
Lugs:94368 | Non-inventory | 4/0 2 Hole Cu 1/2 Hole Lug - 8/28/08 Store | 3.62 | 3.0688
Lugs:94390 | Non-inventory | 500 MCM 2 Hole Lug 1/2 Hole - 10/29/09 Store | 11.82 | 9.33
Lugs:94398 | Non-inventory | 750 MCM Long 2 Hole Lug 1/2 Hole - 1/21/09 Store | 20.92 | 16.52
Lugs:BURK2A29U | Non-inventory | Lug Mech 2C 6-250STR AL/CU 1 Hole 3/8 Stud - 10/7/08 State | 7.9 | 6.6452
Lugs:BURK2A36U | Non-inventory | Lug Mech 2C 2-600Str AL/CU 1 Hole 1/2 Stud - 7/24/08 | 21.33 | 18.129
Lugs:BURKA26U | Non-inventory | Lug Mech 1C 6-2/0 AL/CU 1 Hole 1/4 Stud | 1.49 | 1.2508
Lugs:BURKA28 | Non-inventory | Lug Mech 1C 1-4/0 STR CU 1 Hole 3/8 Stud | 6.48 | 5.4908
Lugs:BURKA2U | Non-inventory | Lug Mech 1C 14-2 AL/CU 1 Hole 1/4 Stud | 0.77 | 0.65
Lugs:BURKA31U | Non-inventory | Lug Mech 1C 6-350 AL/CU 1 Hole 3/8 Stud | 3.1 | 2.5758
Lugs:BURYA1CL4BOX | Non-inventory | Lug Comp 1 Hole Std Brl 1AWG CU 3/8 Stud | 2.5 | 2.1129
Lugs:BURYA25-2N | Non-inventory | Lug Comp 2Hole Long Brl 1/0AWG 1/2 Stud - 2/4/09 | 5.94 | 4.69
Lugs:BURYA25-L4BOX | Non-inventory | Lug 1Hole Std Brl 1/0AWG CU 3/8 Stud - 2/4/09 State | 2.47 | 1.95
Lugs:BURYA25L6BOX | Non-inventory | Lug Comp 1 Hole Std Brl 1/0AWG CU 1/2 Stud - 8/26/08 State | 2.78 | 2.355
Lugs:BURYA26-2N | Non-inventory | Lug Comp 2 Hole Long Brl 2/0 AWG 1/2 Stud - 1/21/09 Store | 7.11 | 5.61
Lugs:BURYA26L6BOX | Non-inventory | Lug Comp 1 Hole Std Brl 2/0AWG CU 1/2 Stud - 12/16/08 State | 3.46 | 2.726
Lugs:BURYA27-2N | Non-inventory | LUG Comp 2Hole Long Barrel 3/0AWG 1/2 Stud -1/21/09 Store | 8.06 | 6.36
Lugs:BURYA28 | Non-inventory | Lug Comp 1 Hole Long Brl 4/0 AWG 1/2 Stud - 8/26/08 State | 6.59 | 5.6032
Lugs:BURYA28-2N | Non-inventory | Lug Comp 2 hole Long Brl 4/0AWG 1/2 Stud - 5/1/09 Store | 7.04 | 5.56
Lugs:BURYA28-L12-BULK | Non-inventory | Lug Comp Ring Mine/Flex 4/0 AWG CU 1/2 Stud | 1.8 | 1.5224
Lugs:BURYA28A3 | Non-inventory | Lug Comp Unins 1 Hole 4/0 AWG Alum 1/2 Stud | 6.22 | 5.276
Lugs:BURYA29 | Non-inventory | Lug Comp 1 Hole Long Brl 4/0AWG 1/2 Stud - 2/4/09 State | 7.68 | 6.0556
Lugs:BURYA29-2N | Non-inventory | Lug Comp 2 Hole Long Brl 250 MCM 1/2 Stud - 8/20/08 BESCO | 11.03 | 9.367
Lugs:BURYA2C-2N | Non-inventory | 2AWG COP 2H Lug - 1/9/09 Store | 4.7 | 3.71
Lugs:BURYA2CL6BOX | Non-inventory | Lug Comp 1 Hole Std Brl 2AWG 1/2 Stud - 12/16/08 State | 2.7 | 2.13
Lugs:BURYA31 | Non-inventory | Lug Comp 1 Hole Long Brl 350MCM 1/2 Stud - 10/24/08 State | 6.18 | 5.25
Lugs:BURYA31-2N | Non-inventory | Lug Comp 2 Hole Long Barrel 350MCM 1/2 Stud - 10/22/08 State | 8.58 | 7.29
Lugs:BURYA31-L | Non-inventory | 350 MCM COP 1 Hole Lug | 6.22 | 5.2788
Lugs:BURYA34 | Non-inventory | Lub Comp 1 Hole Long Brl 500 MCM 5/8 Stud - 8/29/08 State | 8.82 | 7.49
Lugs:BURYA34-2N | Non-inventory | Lug Comp 2Hole Long Brl 500 MCM 1/2 Stud - 9/26/08 State | 10 | 8.5
Lugs:BURYA6C-2N | Non-inventory | 6AWG Cop 2H Lug - 8/29/08 State | 12.8 | 10.8704
Lugs:BURYAV25-L3-BULK | Non-inventory | 1/0AWG Ring Lug - 8/7/08 | 2.79 | 2.37
Lugs:BURYAV27-L1 | Non-inventory | 3/0 AWG 1/2 Stud Lug | 4.63 | 3.927
Lugs:BURYAV28-L-BULK | Non-inventory | Lug Comp Ring Mine/Flex 4/0AWG CU 3/8 Stud | 3.02 | 2.3704
Lugs:BURYAV28-L12-BULK | Non-inventory | Lug Comp Ring Mine/Flex 4/0AWG CU 1/2 Stud - 11/2/09 State | 3.02 | 2.3704
Lugs:BURYAV2C-L-BULK | Non-inventory | Lug Comp Ring Mine/Flex 2AWG CU 3/8 Stud - 9/2/08 State | 1.02 | 0.8522
Lugs:BURYAV2C-L4-BULK | Non-inventory | #2 Ring Lug 1/2" Hole Size - 11/24/08 State | 1.37 | 1.0741
Lugs:BURYAV4C-L4-BULK | Non-inventory | Lug Comp Ring Mine/Flex 4AWG CU 5/16 Stud | 0.54 | 0.4522
Lugs:BURYAV6C-L10-BULK | Non-inventory | Lug Comp Ring Mine/Flex 6AWG CU 1/2 Stud | 1.22 | 1.023
Lugs:G1212L1125CU | Non-inventory | 125 Amp main Lug Only Panel | 56.48 | 48
Lugs:ILSCLND_350-12-134 | Non-inventory | ILSCO Lugs - 1/12/09 Store | 5.95 | 4.7
Lugs:ILSTA2-2 | Non-inventory | #2 Mech. Lug | 1.68 | 1.4134
Lugs:KA4C | Non-inventory | 14-4 1/4 STUD 1 HOLE LUG - 01/08/09 Store | 2.16 | 1.71
Lugs:YA44-2N | Non-inventory | 1000 MCM Lug - 10/22/09 Store | 137.8 | 108.86

## Nipples
Product/Service | Type | Description | Price | Cost | Qty On Hand
Nipples | Non-inventory |  | 0
Nipples:1/2X2 | Non-inventory | 1/2X2 Galvanized Nipple | 0.68
Nipples:1/2XCLOSE | Non-inventory | 1/2" X Close Nipple - 09/02/09 Store | 0.59 | 0.47
Nipples:112 | Non-inventory | 3/4" Offset Nipple - 8/12/08 BESCO | 0.83 | 0.7
Nipples:6456 | Non-inventory | 2" x Close galv. nipple | 1.63
Nipples:GALV.75X3 | Non-inventory | 3/4" X 3 Conduit Nipple | 0.74 | 0.6278
Nipples:GALV.75x8 | Non-inventory | Galvanized Nipple 3/4" X 8" - 10/15/08 Store | 3.59 | 3.0433
Nipples:GALV.75XCLOSE | Non-inventory | Nipple Galvanized 3/4XCLOSE - 1/6/09 Store | 1.03 | 0.6
Nipples:GALV1.25X3 | Non-inventory | 1-1/4" X 3 Galvanized Nipple - 08/07/09 Store | 1.63 | 1.29
Nipples:GALV1.25X4 | Non-inventory | Nipple Galvanized 1-1/4 X 4 | 2.99 | 2.535
Nipples:GALV1.25X6 | Non-inventory | Nipple Galvanized 1-1/4 X 6 | 3.9 | 3.307
Nipples:GALV1.25XCLOSE | Non-inventory | Nipple Galvanized 1-1/4" X Close | 1.97 | 1.665
Nipples:GALV1.5X3 | Non-inventory | Galvanized Nipple 1.5 X 3 - 10/7/08 Store | 2.76 | 2.34
Nipples:GALV1.5X6 | Non-inventory | Galvanized 1-1/2 x 6 Nipple | 4.93 | 4.1043
Nipples:GALV1.5XCLOSE | Non-inventory | Nipple Galvanized 1-1/2 X Close | 2.39 | 2.023
Nipples:GALV1XCLOSE | Non-inventory | Nipple Galv 1xCLOSE | 1.51 | 1.278
Nipples:GALV2x10 | Non-inventory | 2x10 Galvanized Nipple - Store 12/29/09 | 10.66 | 8.34
Nipples:GALV2X3 | Non-inventory | Galvanized Nipple 2 x 3 | 3.29 | 2.7878
Nipples:GALV2XCLOSE | Non-inventory | Galvanized Nipple 2 X Close 08/03/09 - Store | 2.79 | 2.0458
Nipples:GALV3XCLOSE | Non-inventory | Nipple Galvanized 3 X Close - 7/24/08 | 7.76 | 6.59
Nipples:GALV4X12 | Non-inventory | Nipple Galv 4 x 12 - 7/24/08 | 31.18 | 26.5
Nipples:GALV4XCLOSE | Non-inventory | Galvanized Nipple 4 x Close - 9/3/08 State | 11.26 | 9.57
Nipples:NIPGALV3/4Xclose | Non-inventory | 3/4" X Close Nipple 09/02/09 Store | 0.77 | 0.61

## Poles
Product/Service | Type | Description | Price | Cost | Qty On Hand
Poles & Accessories | Non-inventory |  | 0
Poles & Accessories:25' Class 4 | Non-inventory | 25' Class 4 Wooden Pole - 2/22/09 Store | 176.12 | 139.13
Poles & Accessories:30FTCLASS4POLE | Non-inventory | 30 Ft Class 4 woodden pole priced for local pickup - Store - 08/03/09 | 239.1 | 188.89
Poles & Accessories:4/45 | Non-inventory | UPOSPCC04045 - 4/45 Southern Pine, CCA | 403.39 | 342.38
Poles & Accessories:4/50 | Non-inventory | UPOSPCC04050 - 4/50 Southern Pine, CCA | 455.18 | 386.9
Poles & Accessories:4/60 | Non-inventory | UPOSPCC04060 - 4/60 Southern Pine, CCA | 715.82 | 608.44
Poles & Accessories:40' Class 4 | Non-inventory | 40' Class 4 Wooden Pole - 3/13/09 Store | 390.76 | 308.7
Poles & Accessories:45 Ft C4 CCA Wooden | Non-inventory | 45 Ft Class 4 CCA Wooden Pole - 08/13/09 Store | 490.87 | 369
Poles & Accessories:45' Class Y | Non-inventory | Class Y 45' Pole | 589.42 | 502.66
Poles & Accessories:50 Ft C4 CCA | Non-inventory | 50 Ft Class 4 CCA Pole - 08/04/09 Store | 447.26 | 353.33
Poles & Accessories:55 Ft C3 Wooden | Non-inventory | 55 Ft Class 3 Wooden Pole - 08/04/09 Store | 611.82 | 483.33
Poles & Accessories:55 Ft C4 CCA | Non-inventory | 55 Ft Class 4 CCA Pole - 08/04/09 | 537.27 | 424.44
Poles & Accessories:L-MPOLE25CL7 | Non-inventory | Pole 25" Class 7 Wood - 06/15/09 Store | 126.58 | 195.81
Poles & Accessories:Pole Pedistal Mounting Ktis | Non-inventory | Pole Pedistal Mounting Kits | 2.83 | 2.83
Poles & Accessories:Pole Pedistal, Metal | Non-inventory | Pole Pedistal, Metal | 37.85 | 34.85
Poles & Accessories:Poles - BTF | Non-inventory | Telephone Poles (by the foot) | 2.041 | 2.041

## PVC
Product/Service | Type | Description | Price | Cost | Qty On Hand
PVC Adapters | Non-inventory |  | 0
PVC Adapters:1" Femal | Non-inventory | 1" PVC Female Adapter - 1/13/09 Store | 0.41 | 0.32
PVC Adapters:1" Male | Non-inventory | 1" PVC Male Adapter - 11/13/08 Store | 0.49 | 0.293
PVC Adapters:1-1/2" Female | Non-inventory | 1-1/2" PVC Female Adapter | 0.45 | 0.38
PVC Adapters:1-1/2" Male | Non-inventory | 1-1/2" PVC Male Adaptor - 11/12/08 Store | 0.54 | 0.4188
PVC Adapters:1-1/4" Female | Non-inventory | 1-1/4" PVC Female Adapter | 0.82 | 0.43
PVC Adapters:1-1/4" Male | Non-inventory | 1-1/4" PVC Male Adapter - 09/02/09 Store | 0.76 | 0.38
PVC Adapters:1/2" Male | Non-inventory | 1/2" Male PVC Adaptor - 11/19/08 Store | 0.17 | 0.13
PVC Adapters:2" Male Adapter | Non-inventory | 2" PVC Male Adapter 01/06/09 BESCO | 0.72 | 0.66
PVC Adapters:3" Female | Non-inventory | 3" PVC Female Adaptor - 08/11/09 Store | 2.04 | 1.61
PVC Adapters:3" Male Adapter | Non-inventory | 3" PVC Male Adapter | 1.25
PVC Adapters:3/4" PVC Female | Non-inventory | 3/4" PVC Female - 9/4/08 Store | 0.33 | 0.27592
PVC Adapters:3/4" PVC Male | Non-inventory | 3/4" PVC Male Adaptor -12/7/09 Store | 0.26 | 0.232
PVC Adapters:4" female | Non-inventory | 4" PVC female adapter 08/24/09 - Store | 3.32 | 2.62
PVC Adapters:4" Term | Non-inventory | 4" PVC Term Adapter | 3.68 | 3.1131
PVC Adapters:CARE942E | Non-inventory | 3/4 PVC Female Adaptor | 0.31 | 0.2547
PVC Adapters:CARE942H | Non-inventory | 1-1/2" PVC Female Adaptor | 1.85 | 1.5683
PVC Adapters:CARE942L-CAR | Non-inventory | 3" PVC Female Adaptor | 2.18 | 1.8474
PVC Adapters:CARE943E | Non-inventory | 3/4 PVC Term Adaptor | 0.29 | 0.2391
PVC Adapters:CARE943F | Non-inventory | 1" PVC Terminal Adaptor | 0.37 | 0.3016
PVC Adapters:CARE943G | Non-inventory | 1-1/4 PVC Term Adpt | 0.46 | 0.3879
PVC Adapters:CARE943H | Non-inventory | 1-1/2" PVC Term Adaptor | 0.55294 | 0.4677
PVC Adapters:CARE943J | Non-inventory | 2" PVC Term Adpt | 0.8 | 0.6724
PVC Adapters:CARE943L | Non-inventory | 3" Schedule 40 M Adaptor - 8/26/08 State | 1.98 | 1.6748
PVC Box | Non-inventory |  | 0
PVC Box:6x6x4 | Non-inventory | 6 x 6 x 4 PVC Box | 17.18 | 14.6
PVC Condulet | Non-inventory |  | 0
PVC Condulet:1/2" C Condulet | Non-inventory | 1/2" C Condulet - 11/11/08 Store | 2.38 | 1.8783
PVC Condulet:1/2" LB | Non-inventory | 1/2" PVC LB Condulet - 11/11/08 Store | 2.3 | 2.33
PVC Condulet:11/4" LB | Non-inventory | 1-1/4" PVC LB Condulet | 4.44 | 3.73
PVC Condulet:2" LB | Non-inventory | 2" PVC LB Condulet - 10/21/08 Store | 10.4 | 7.68
PVC Condulet:3/4" LB | Non-inventory | 3/4" PVC LB Condulet 8/14/08 BESCO | 2.38 | 2.0168
PVC Couplings | Non-inventory |  | 0
PVC Couplings:1" Coupling | Non-inventory | 1" PVC Coupling - 11/17/08 Store | 0.25 | 0.19
PVC Couplings:1-1/2" Coupling | Non-inventory | 1-1/2" PVC Coupling - 11/12/08 Store | 0.44 | 0.3316
PVC Couplings:1-1/4" Coupling | Non-inventory | 1-1/4" PVC Coupling - 4/16/09 Store | 0.5 | 0.31
PVC Couplings:1/2" Coupling | Non-inventory | 1/2" PVC Coupling - 11/11/08 Store | 0.12 | 0.08
PVC Couplings:2" Coupling | Non-inventory | 2" PVC Coupling - 01/06/09 Store | 0.55 | 0.44
PVC Couplings:3" Coupling | Non-inventory | 3" PVC Coupling 08/24/09 - Store | 1.7 | 1.34
PVC Couplings:3/4" Coupling | Non-inventory | 3/4" PVC Coupling - 12/7/09 Store | 0.17 | 0.13
PVC Couplings:4" Coupling | Non-inventory | 4" PVC Coupling 08/24/09 - Store | 2.55 | 2.01
PVC Couplings:CARE940E | Non-inventory | 3/4" PVC Coupling | 0.16 | 0.1253
PVC Couplings:CARE940F | Non-inventory | 1" PVC Coupling | 0.24 | 0.1931
PVC Couplings:CARE940H | Non-inventory | 1-1/2" PVC Coupling | 0.43 | 0.3592
PVC Elbows | Non-inventory |  | 0
PVC Elbows:1" 90 | Non-inventory | 1" PVC 90º Elbow | 1.28 | 0.64
PVC Elbows:1-1/4" 90º | Non-inventory | 1-1/4" PVC 90º Elbow | 1.97 | 1.06
PVC Elbows:1/2" 90 | Non-inventory | 1/2" PVC Elbow - 11/11/08 Store | 0.52 | 0.4
PVC Elbows:2" 90 Elbow | Non-inventory | 2" PVC S. R. 90 Elbow - 01/06/09 Store | 2.32 | 1.72
PVC Elbows:3" SCH80 LR 90 elbow | Non-inventory | 3" long radius Sch. 80 elbow | 27.75
PVC Elbows:3/4" 90º Elbow | Non-inventory | 3/4" PVC 90º Elbow - 12/07/09 Store | 0.62 | 0.49
PVC Elbows:CARUA9AE | Non-inventory | 3/4" 90º PVC Elbow | 0.58 | 0.4823
PVC Elbows:CARUA9AF | Non-inventory | 1" 90º PVC Elbow | 0.9 | 0.7546
PVC Elbows:CARUA9AG | Non-inventory | 1-1/4 90º PVC Elbow | 1.29 | 1.0825
PVC Elbows:CARUA9AH | Non-inventory | 1-1/2" 90º PVC Elbow - 11/12/08 Store | 1.9 | 1.4923
PVC Elbows:CARUA9AL | Non-inventory | 3" 90º PVC Elbow - 08/24/09 - Store | 7.89 | 6.23
PVC Elbows:CARUA9AN | Non-inventory | 4" PVC 90º Elbow - 08/24/09 Store | 12.41 | 11.18
PVC Fittings | Non-inventory |  | 0 | 0
PVC Fittings:CARE986L | Non-inventory | 3" Type-LB PVC Fitting - 8/26/08 State | 39.12 | 33.241

## Straps
Product/Service | Type | Description | Price | Cost | Qty On Hand
Straps | Non-inventory |  | 0
Straps:23 | Non-inventory | 1-hole strap for 2/3 SEU cable | 0.23 | 0.19
Straps:38BX | Non-inventory | 3/8" MC 1-Hole Strap - 8/7/08 BESCO | 0.11 | 0.09
Straps:702-4 | Non-inventory | 4" Rigid Pipe Strap | 2.04 | 1.76
Straps:B2002 | Non-inventory | 3/4" Clamps | 0.6 | 0.507
Straps:B2004-1-1/4 | Non-inventory | 1-1/4 EMT B-L STRAPS - 1-1/4 EMT B-L STRAPS - 01/06/09 | 1.07 | 0.845
Straps:B2010-1 | Non-inventory | 1" Conduit Strap - 06/22/09 Store | 1.07 | 0.836
Straps:B2011 | Non-inventory | 1-1/4" Clamps | 0.7 | 0.588
Straps:B2012 | Non-inventory | 11/2 Conduit Strap | 1.32 | 1.04
Straps:B2013 | Non-inventory | 2" Channel Straps -1/21/09 Store | 1.54 | 1.22
Straps:B2015-ZN | Non-inventory | 3" HW Strap - Store - 06/03/09 | 1.91 | 1.51
Straps:B2017 | Non-inventory | 4 Strap - Store - 08/11/09 | 2.43 | 1.9
Straps:C144-1 | Non-inventory | 2 Hole Cond Strap | 1.32 | 1.1183
Straps:C144-1-1/2 | Non-inventory | 2 hole Cond Strap | 2.05 | 1.7331
Straps:C144-2 | Non-inventory | 2" 2 hole Strap | 2.66 | 3.17
Straps:C144-2-1/2 | Non-inventory | 2 hole Cond Strap | 3.57 | 3.027
Straps:C144-3 | Non-inventory | 3" 2 hole strap | 1.62
Straps:C144-4 | Non-inventory | 4" 2 Hole Cond Strap - 08/11/09 -store | 10.33 | 8.16
Straps:H-248 | Non-inventory | 3" Cond Strap - 8/26/08 State | 4.1 | 3.48
Straps:H-48 | Non-inventory | Viking 1/2" 1-H Conduit Strap - 12/17/08 State | 0.3 | 0.23
Straps:H-68 | Non-inventory | 3/4 1-H Conduit Strap - 12/17/09 State | 0.37 | 0.25
Straps:H-88 | Non-inventory | Viking 1" Cond Strap -08/07/08 Store | 1 | 0.79
Straps:H108 | Non-inventory | 1-1/4 Cond Strap - 05/11/09 Store | 1.14 | 0.8
Straps:H128 | Non-inventory | 1-1/2" Rigid Strap - 1 Hole | 1.45 | 1.23
Straps:H168 | Non-inventory | 2" HW 1 Hole Strap - 06/26/09 Store | 1.87 | 1.22
Straps:S-CC144-1-1/4 | Non-inventory | 2 Hole Cond Strap | 1.62 | 1.366
Straps:S-CC144-2 | Non-inventory | 2 Hole Cond Strap | 2.24 | 1.8967
Straps:T108 | Non-inventory | 1-1/4" TW Strap | 0.71 | 0.5913
Straps:T48 | Non-inventory | 1/2" EMT 1 Hole Strap - 2/27/09 Store | 0.22 | 0.17
Straps:T68 | Non-inventory | 3/4" 1 Hole EMT Strap | 0.22 | 0.18
Straps:T88 | Non-inventory | 1" 1 Hole EMT Strap - 11/6/08 Store | 0.3 | 0.23

## Washers
Product/Service | Type | Description | Price | Cost | Qty On Hand
Washers | Non-inventory |  | 0 | 0
Washers:1/4X11/2Fender Washer | Non-inventory | 1/4 X 1 1/2 Fender Washer - 6/22/09 - Store | 0.06 | 0.049
Washers:11500 | Non-inventory | 5/8" X 2-1/4" Square Washer - 1/21/10 Store | 0.33 | 0.26
Washers:17215 | Non-inventory | 1/2 S/S Flat Washer - 3/4/10 Store | 0.14 | 0.11
Washers:5306 | Non-inventory | 1/2 S/S Split Lockwasher - 07/14/09 Store | 0.19 | 0.144
Washers:L-MJ1075 | Non-inventory | 3/16 x 2-1/2 Square Washer - 11/24/08 State | 0.43 | 0.36
Washers:L-MJ1078 | Non-inventory | Washer 3/4 Blt 3 x 3 x 3/16 Sq Flat | 1.12 | 0.95
Washers:L-MJ6823 | Non-inventory | Washer 3/4 Blt 3 x 3 SQ Curved | 1.12 | 0.95
Washers:SCRWFE1/4X1-1/4 | Non-inventory | Fender Washer 1/4" X 1-1/4" | 0.08 | 0.05215
Washers:SCRWFE12x112 | Non-inventory | Fender Washer 1/2" X 1-1/2" - 8/22/08 State | 0.15 | 0.1139
Washers:SCRWFE14X114 | Non-inventory | Fender Washer 1/4 x 1-1/4 | 0.08 | 0.05215
Washers:SCRWFE38X114 | Non-inventory | Fender Washer 3/8 X 1-1/4 | 0.06 | 0.04918
Washers:SCRWL12 | Non-inventory | Washer Lock 1/2 - 9/18/08 State | 0.1 | 0.0705
Washers:WA121 | Non-inventory | 3/4 X 1/2 Reducer Washer | 0.09

## Weatherheads
Product/Service | Type | Description | Price | Cost | Qty On Hand
Weather Heads | Non-inventory |  | 0
Weather Heads:736 | Non-inventory | 2" Weatherhead - 08/03/09 Store | 7.04 | 6.61
Weather Heads:738 | Non-inventory | 3" Weatherhead - Store - 06/10/09 | 39.37 | 31.1
Weather Heads:SH102 | Non-inventory | 3/4" Weatherhead - 12/07/09 Store | 3.23 | 2.55
Weather Heads:SH103 | Non-inventory | 1" Weatherhead - 08/07/09 Store | 3.6 | 2.84
Weather Heads:SH104 | Non-inventory | 1-1/4" Weatherhead -05/11/08 Store | 5 | 4.25
Weather Heads:SH105 | Non-inventory | 1-1/2 Clamp-On Ent Cap (Weatherhead) - 05/11/09 State | 7.84 | 6.19
Weather Heads:SH107 | Non-inventory | 2-1/2" Clampon Ent Cap | 30.88 | 26.239
Weather Heads:SH108 | Non-inventory | 3" Clamp-On Weatherhead - 01/05/09 Store | 50.6329 | 40
Weather Heads:SH110 | Non-inventory | 4" Clamp-On Weatherhead - 06/10/08 State | 85.68 | 67.69

## Wire
Product/Service | Type | Description | Price | Cost | Qty On Hand
Wire | Non-inventory |  | 0
Wire:3363.4ACSR | Non-inventory | 336.4 ACSR Cable 26/7 - Store - 06/08/09 | 1.19 | 0.94
Wire:Altiewire | Non-inventory | Aluminum Tie Wire | 0.05
Wire:jumper15kvwire | Non-inventory | 15kv jumper wire #2 WIRE - 06/16/09 Store | 3.38 | 2.67
Wire:W 4/02KVDLO | Non-inventory | 4/0 4/0 2KV Wire DLO - 1/12/09 Store | 4.82 | 3.8
Wire:W15KVJUMPER4/0 | Non-inventory | 15KV Jumper 4/0 Wire - 06/16/09 Store | 7.9 | 6.24
Wire:W4SOLSOFTDRAWNTIE | Non-inventory | 4 SOL Soft Tie Wire Alu. - Store - 05/14/09 | 2.34 | 1.85
Wire:WACSR1/0 | Non-inventory | #2 Aluminum Quad Wire - 06/25/09 Store | 1.12 | 0.88
Wire:WACSR336.4 | Non-inventory | 336.4 ACSR Cable 26.7 - 4/8/09 Store | 1.12 | 0.871
Wire:WACSR4/0 | Non-inventory | 4/9 ACSR Cable 6/1 - 4/8/09 Store | 0.63 | 0.483
Wire:WALACSR1/0AL | Non-inventory | ACSR 1/0 AL Raven - 6/23/09 Store | 0.26 | 0.2
Wire:WALACSR2 | Non-inventory | #2 ACSR Cable - Store - 05/14/09 | 0.23 | 0.178
Wire:WALACSR2AL | Non-inventory | ACSR 2 AL Sparrow - 10/24/08 State | 0.28 | 0.221
Wire:WALACSR336AL | Non-inventory | ACSR 336.4 AL Linnet - 11/6/08 State | 1.51 | 1.181
Wire:WALACSR4/0AL | Non-inventory | ACSR 4/0 AL Penguin - 11/04/08 State | 0.85 | 0.66125
Wire:WALMOBLE2/4 | Non-inventory | #2 Mobile Feeder - 4/19/09 Store | 1.68 | 1.07
Wire:WALQUAD1/0 | Non-inventory | 1/0 Quadraplex Aluminum Ser Costena - 10/7/08 State | 2.48 | 2.1
Wire:WALQUAD2 | Non-inventory | 2 Quadraplex Alum Ser Dr Palomino | 1.45 | 1.23
Wire:WALQUAD2/0 | Non-inventory | 2/0 Quadraplex Alum Ser Grullo - 12/12/08 State | 2.74 | 2.16
Wire:WALQUAD350AL | Non-inventory | 350 MCM Quad (AL) | 14.11 | 11.9829
Wire:WALQUAD4 | Non-inventory | 4 Quadraplex Alum Ser Dr/ft - 8/26/08 State | 1.06 | 0.9
Wire:WALQUAD4/0 | Non-inventory | 4/0 Quadraplex Aluminum Ser Appaloosa - 06/23/09 State | 2.79 | 2.2
Wire:WALQUAD6 | Non-inventory | 6 Quadraplex Aluminum Ser Dr | 0.5 | 0.43379
Wire:WALTRI1/0 | Non-inventory | Triplex 1/0 Alum Service Nertina | 1.59 | 1.34
Wire:WALTRI2 | Non-inventory | Triplex 2 Aluminum Service D Conch - 10/3/08 State | 1.1 | 0.793
Wire:WALTRI2/0 | Non-inventory | Triplex 2/0 Alum Service | 1.61 | 1.3613
Wire:WALTRI4 | Non-inventory | Triplex 4 Alum Service D - 08256/09 Store | 0.64 | 0.5
Wire:WALTRI4/0 | Non-inventory | Triplex 4/0 Alum Service Zuzara | 2.88 | 2.44
Wire:WALTRI6 | Non-inventory | Triplex 6 Alum Service D Voluta - 06/22/09 State | 0.49 | 0.38
Wire:WBARE 2/0 STRD | Non-inventory | 2/0 Bare STRD - 3/4/10 Store | 1.92 | 1.51
Wire:WBARE4/0STR | Non-inventory | 4/0 Str Bare Copper - 06/16/09 Store | 3.38 | 2.67
Wire:WBARE4SOL | Non-inventory | #4 Bare Ground Wire - 08/03/09 Store | 0.61 | 0.63
Wire:WCDMlead/777/DLO | Non-inventory | 777 DLO Cable - 10/29/09 Store | 35.45 | 28
Wire:WCDMLEAD1 | Non-inventory | Motor Lead 1 2 KV | 3.73 | 3.1665
Wire:WCDMLEAD2 | Non-inventory | #2 DLO CPE Jacket 2KV - 10/9/08 State | 2.08 | 1.7516
Wire:WCDMLEAD2/0 | Non-inventory | Motor Lead 2/0 2 | 4.28 | 3.6231
Wire:WCDMLEAD262 | Non-inventory | Motor Lead 262 2 - 10/24/08 State | 7.48 | 6.36
Wire:WCDMLEAD373 | Non-inventory | Motor Lead 373 2K 2KV - 06/04/09 - State | 11.92 | 10.123
Wire:WCDMLEAD4/0 | Non-inventory | 4/0 DLO CPE Jacket 2KV - 11/2/09 State | 7.46 | 5.89
Wire:wcdmlead535 | Non-inventory | 535.3 DLO CPE JACKET 2KV - 1/23/09 State | 12.68 | 10.007
Wire:WCDSO10/3BK | Non-inventory | Cord SO 10/3 Black | 1.18 | 1
Wire:WCDSO10/4BK | Non-inventory | CORD SO 10/4 BLACK 12/02/08 STATE | 1.5443 | 1.22
Wire:WCDSO12/3BK | Non-inventory | Cord So 12/3 Black | 0.79 | 0.66653
Wire:WCDSO14/3BK | Non-inventory | Cord SO 14/3 Black - 2/26/09 State | 0.6 | 0.47
Wire:WCDSO16/3BK | Non-inventory | Cord SO 16/3 Black - 03/10/2009 | 0.66 | 0.52
Wire:WCDWRD4/4 | Non-inventory | W Round 4 Cond 4AWG MSHA | 6.25 | 5.31
Wire:WCMDLEAD6 | Non-inventory | Motor Lead 6 2KV | 1.03 | 0.87
Wire:WCU15KVJUMP2US | Non-inventory | Jumper Cable 15 KV 2 Unshi - 11/19/08 State | 3.1 | 2.63
Wire:WCU15KVJUMP350US | Non-inventory | Jumper Cable 15 KV 350MCM | 7.73 | 6.563
Wire:WCU15KVJUMP4/0US | Non-inventory | Jumper Cable 15KV 4/0 Un S - 2/4/09 State | 8.87 | 7
Wire:WCU5KV1/03SHDXLP | Non-inventory | 1/0 5KV XLP/PVC Shield | 4.89 | 4.15
Wire:WCU5KV1/3SHDLC | Non-inventory | 1-3/C 5KV SHD-GC - 7/24/08 | 18.24 | 15.5
Wire:WCUAIA6/3 | Non-inventory | 6AWG 3 Cond Armour Cable - 7/15/08 | 3.31 | 2.81
Wire:WCUBASOLSD2 | Non-inventory | Bare 2 Sol Soft Drawn Cu | 0.85 | 0.71125
Wire:WCUBASOLSD2T | Non-inventory | Bare 2 Sol Soft Drawn Ti - 12/16/08 State | 1.57 | 1.24
Wire:WCUBASOLSD4DP | Non-inventory | Bare 4 Sol Sd Cu dist Pk - 2/4/08 State | 0.6 | 0.464
Wire:WCUBASTR19SD2/0 | Non-inventory | BARE 2/0 19STR SD CU - 12/16/08 State | 2.46 | 1.9401
Wire:WCUBASTR19SD4/0 | Non-inventory | Bare Str 4/0 50' Drawn - 2/4/09 State | 3.04 | 2.395
Wire:WCUBASTR7SD2 | Non-inventory | Bare 2 7Str Sd Cu | 1.14 | 0.98784
Wire:WCUBSTR19SD2/0 | Non-inventory | Bare 2/0 19 Strand SD CU | 3.36 | 2.8415
Wire:WCUBXMC10/3G | Non-inventory | MC Wire 10/3G Type MC | 1.48 | 1.25
Wire:WCUCLX10/3G | Non-inventory | CLX10/3G - 10/23/08 State | 2.55 | 2.1553
Wire:WCUCLX12/3G | Non-inventory | Wire WCUCLX12/3G - 12/17/08 State | 2.45 | 1.9231
Wire:WCUTELE14/2 | Non-inventory | Telephone 14/2 Bk/We Twi | 0.32 | 0.27
Wire:WCUTELE14/2CRW | Non-inventory | Telephone Cable 14/2 C R - 4/15/09 State | 0.21 | 0.15854
Wire:WCUTHHN1STRBK | Non-inventory | THHN 1 STR Black - 06/25/09 - Store | 1.21 | 1.09
Wire:WFIBER12M | Non-inventory | 12 Strand Fiber with Mes | 2.48 | 2.0988
Wire:WGMMES 1/2UTLGAL | Non-inventory | 1/2 Galv Utility Messenger | 0.69 | 0.58
Wire:WGMMES1/4EHSGAL | Non-inventory | Galv Messenger 1/4 EHS 06/26/09 State | 0.25 | 0.2
Wire:WGMMES3/8UTLGAL/250 | Non-inventory | 3/8" Utility Messenger 250' Roll - Per Foot - 02/26/09 State | 0.47 | 0.37
Wire:WGMMES3/8UTLGLA/250 | Non-inventory | 3/8" Utility Messenger 250 Foot Roll - 9/23/08 State | 0.44 | 0.37
Wire:WMC12/2G-ft | Non-inventory | 12/2 Metal Clad cable | 0.55 | 0.49
Wire:WMC12/3G | Non-inventory | 12/3 G Metal Clad Cable | 0.86
Wire:WMCMPF15KV2/3 | Non-inventory | MPF-GC 15KV 3C 2AWG PVC - 8/26/08 State | 12.29 | 10.4319
Wire:WRWALMOBL4/04 | Non-inventory | 4/0 4 allegheney wire | 2.29
Wire:WSER4/0-4AL | Non-inventory | 4/0 4cond Service Entrance Cable | 2.5
Wire:WSEU2/3AL | Non-inventory | #2-3 Cond Service Entrance Alum Wire - 4/16/09 Store | 1.94 | 1
Wire:WSEU4/0-3AL | Non-inventory | 4/0 3cond service entrance cable - 06/26/09 Store | 2.3 | 2.4
Wire:WSJO14/3BK | Non-inventory | #14-3cond SJO cable - Store - 09/02/09 | 0.37 | 0.29
Wire:WSO 14/3 BK | Non-inventory | 14/3 SO | 0.59
Wire:WSO10/3BK | Non-inventory | #10 3Cond SO Cable - 10/08/09 Store | 1.12 | 1.2
Wire:WSO12/3BK | Non-inventory | 12/3 SO - 9/9/08 Store | 0.85 | 0.92
Wire:WTHHN3/0BK | Non-inventory | THHN 3/0 Str Black - 08/03/09 Store | 3.32 | 2.62
Wire:WTHHN3STRBK | Non-inventory | THHN 3 Strand Black - 09/02/09 Store | 0.96 | 0.757